## Sheet1
Building General |  |  | Zone | Zone1 | Zone2 | Zone3 | Zone4 | Zone5 | Zone6 | Zone7 | Zone8 | Zone9 | Zone10
Building Location | Denver, Colorado, USA | Click the button above if a location is changed | Space Name | Living Room
Nearest Weather Data Source | #ERROR! |  | Gross Floor Area (m2) | 37.67
Distance between bldg location and weather station (km) | #ERROR! |  | Occupancy (m2/person) | 10000
Building Name | iUnit |  | Metabolic rate (W/person) | 70
Terrain class | Urban / City |  | Appliance (W/m2) | 26.55
Building total Ventilated volume [m3] | 96.315 |  | Lighting (W/m2) | 0
Building Height [m] | 2.743 |  | Outdoor Air (liter/s/person) | 0
|  |  | DHW (liter/m2/month) | 2
Heat Capacity
Envelope Heat Capacity (J/K) | Medium: 165,000 * Af |  | Building Temperature Set-point Schedule | [5 empty] | Zone 1 Schedule
|  |  | Hour | WD_Tset_heat | WE_Tset_heat | WD_Tset_cool | WE_Tset_cool |  | Hour | Occ_WD | Occ_WE | App_WD | App_WE | Light_WD | Light_WE
Building System |  |  | 0-1 | 20 | 20 | 24 | 24 |  | 0-1 | 0.3 | 0.5 | 0.4 | 0.6 | 0.5 | 0.7
Lighting |  |  | 1-2 | 20 | 20 | 24 | 24 |  | 1-2 | 0.3 | 0.5 | 0.4 | 0.6 | 0.5 | 0.7
Lighting daylighting factor | 0.7 | No Control: 1, Range (0=< factor =<1) | 2-3 | 20 | 20 | 24 | 24 |  | 2-3 | 0.3 | 0.5 | 0.4 | 0.6 | 0.5 | 0.7
Lighting occupancy factor | 0.9 | No Control: 1, Range (0=< factor =<1) | 3-4 | 20 | 20 | 24 | 24 |  | 3-4 | 0.3 | 0.5 | 0.4 | 0.6 | 0.5 | 0.7
Lighting constant illumination control factor | 1 | No Control: 1, Range (0=< factor =<1) | 4-5 | 20 | 20 | 24 | 24 |  | 4-5 | 0.3 | 0.5 | 0.4 | 0.6 | 0.5 | 0.7
HVAC System |  |  | 5-6 | 20 | 20 | 24 | 24 |  | 5-6 | 0.3 | 0.5 | 0.4 | 0.6 | 0.5 | 0.7
Heating System Coefficient of Performance (COP) [KW/KW] | 3.5 |  | 6-7 | 20 | 20 | 24 | 24 |  | 6-7 | 0.3 | 0.5 | 0.4 | 0.6 | 0.5 | 0.7
Cooling System Full Load COP [KW/KW] | 3 | IPLV: 0.9, Seasonal COP: 2.7 | 7-8 | 20 | 20 | 24 | 24 |  | 7-8 | 0.4 | 0.6 | 0.5 | 0.7 | 0.6 | 0.8
Relative COP100: for Relative Load 100% | 1 | Refer to REF sheet | 8-9 | 20 | 20 | 24 | 24 |  | 8-9 | 0.4 | 0.6 | 0.5 | 0.7 | 0.6 | 0.8
Partial Load COP75 Relative Load 75% | 0.9 | Refer to REF sheet | 9-10 | 20 | 20 | 24 | 24 |  | 9-10 | 0.4 | 0.6 | 0.5 | 0.7 | 0.6 | 0.8
Partial Load COP50 Relative Load 50% | 0.85 | Refer to REF sheet | 10-11 | 20 | 20 | 24 | 24 |  | 10-11 | 0.4 | 0.6 | 0.5 | 0.7 | 0.6 | 0.8
Partial Load COP25 Relative Load 25% | 0.75 | Refer to REF sheet | 11-12 | 20 | 20 | 24 | 24 |  | 11-12 | 0.4 | 0.6 | 0.5 | 0.7 | 0.6 | 0.8
Weighting of 100% Load | 0.3 | From ARI 550/590 Standard | 12-13 | 20 | 20 | 24 | 24 |  | 12-13 | 0.4 | 0.6 | 0.5 | 0.7 | 0.6 | 0.8
Weighting of 75% Load | 0.3 | From ARI 550/590 Standard | 13-14 | 20 | 20 | 24 | 24 |  | 13-14 | 0.4 | 0.6 | 0.5 | 0.7 | 0.6 | 0.8
Weighting of 50% Load | 0.3 | From ARI 550/590 Standard | 14-15 | 20 | 20 | 24 | 24 |  | 14-15 | 0.4 | 0.6 | 0.5 | 0.7 | 0.6 | 0.8
Weighting of 25% Load | 0.1 | From ARI 550/590 Standard | 15-16 | 20 | 20 | 24 | 24 |  | 15-16 | 0.4 | 0.6 | 0.5 | 0.7 | 0.6 | 0.8
HVAC system type: (System / Heat distrition by / Cold distribution by / room temp. cntrl) | 36. Direct expansion single split system |  | 16-17 | 20 | 20 | 24 | 24 |  | 16-17 | 0.4 | 0.6 | 0.5 | 0.7 | 0.6 | 0.8
Ventilation type | Mechanical vent |  | 17-18 | 20 | 20 | 24 | 24 |  | 17-18 | 0.3 | 0.5 | 0.4 | 0.6 | 0.5 | 0.7
Mechanical ventilation supply air flow rate (liter/s) | 20 | ASHRAE Standard 62.1-2010, Residential. | 18-19 | 20 | 20 | 24 | 24 |  | 18-19 | 0.3 | 0.5 | 0.4 | 0.6 | 0.5 | 0.7
Mechanical ventilation exhaust air flow rate (liter/s) | 20 |  | 19-20 | 20 | 20 | 24 | 24 |  | 19-20 | 0.3 | 0.5 | 0.4 | 0.6 | 0.5 | 0.7
Heat recovery type | No heat recovery |  | 20-21 | 20 | 20 | 24 | 24 |  | 20-21 | 0.3 | 0.5 | 0.4 | 0.6 | 0.5 | 0.7
Exhaust air recirculation percentage | No exhaust air recirculation |  | 21-22 | 20 | 20 | 24 | 24 |  | 21-22 | 0.3 | 0.5 | 0.4 | 0.6 | 0.5 | 0.7
Natural ventilation is used for cooling during unoccupied hours | No |  | 22-23 | 20 | 20 | 24 | 24 |  | 22-23 | 0.3 | 0.5 | 0.4 | 0.6 | 0.5 | 0.7
If natural ventilation is used, window area totally opened [m2] | 0 |  | 23-24 | 20 | 20 | 24 | 24 |  | 23-24 | 0.3 | 0.5 | 0.4 | 0.6 | 0.5 | 0.7
If natural ventilation, angle of opening for bottom hung window | 10 |  | Note: WD: Weekday, WE: Weekend, Tset,heat: Heating set-point temperature, Tset,cool: Cooling set-point temperature, Occ: Occupant, App: Appliance, Light: Lighting
Building air leakage level (Air flow m3/h per floor area at Q4Pa) | 1 | #ERROR!
Specified fan power [W/(l/s)] | 1.5 | Average electromotor efficiency: Refer to REF sheet
Fan flow control factor | 1 | Average control reduction factor: Refer to REF sheet | Envelope
Pump control for cooling | No pump for cooling |  |  | Oqaque1 | Oqaque2 | Window 1 |  |  |  |  | Window 2
Pump control for heating | No pump for heating |  | Orientation | Area [m2] | Area [m2] | Area [m2] | Window1 Overhang Angle [degree] | Window1 Fin Angle [degree] | Window1 Horizon Angle [degree] | SRF2 | Area [m2] | Window1 Overhang Angle [degree] | Window1 Fin Angle [degree] | Window1 Horizon Angle [degree] | SRF2
Domestic Hot Water System |  |  | S | 7.5 | 0 | 4.2 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
DHW Distribution System | All Taps Within 3m from Heat Generation |  | SE | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
DHW Generation System | Heat Pump (1.4) |  | E | 22.57 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
Building Energy Management System |  |  | NE | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
Type of BEM system installed | 2 | Refer to REF sheet | N | 11.7 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
|  |  | NW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
Bldg Integrated Energy Generation System |  |  | W | 22.57 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
Photovoltaic System |  |  | SW | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
PV module Surface Area (m2) | 0 |  | Roof(Hor) | 35.113 | 0 | 0 |  |  |  | 1 | 0 |  |  |  | 1
PV Module Orientation | S |  | Below grade | 50 | 0
PV Module Angle | 30 |  | Refer to REFERENCE sheet for angle inputs for Overhang, Fin, and Horizon. None: 0.
Type of PV module | Mono crystalline silicona |  | Refer to REFERENCE sheet for shading device Shading Reduction Factor (SRF) from Internal or External Shading Device (Blind or Curtain). No shading device: 1.
Type of building integration of PV module | Moderately ventilated modules |  | Material
Solar Water Heating System |  |  | Type | Uvalue [W/m2/K] | Absorption coefficient | Emissivity | Solar Transmittance
Solar Collector Surface Area (m2) | 0 |  | Roof1 | 0.0611 | 0.5 | 0.9
SHW module orientation | S |  | Roof2 | 0.3 | 0.4 | 0.8
SHW module angle | 30 |  | Opaque1 | 0.244 | 0.5 | 0.9
Wind Turbine System |  |  | Opaque2 | 0.4 | 0.5 | 0.85
Wind Turbine diameter [m] | 0 |  | Window1 | 1.265 |  | 0.85 | 0.4
Wind Turbine efficiency | 0 |  | Window2 | 1.5 |  | 0.9 | 0.4
Energy Sources |  |  | Cost Information
Primary energy source for Heating | Electricity |  | Annual Energy Saving [kW] |  |  |  | 0
Primary energy source for DHW | Electricity |  | Tax Credits [$] |  |  |  | 0
Primary energy source for Cooling | Electricity |  | Expected Rate of Rise in Energy Costs |  |  |  | 0.03
|  |  | Annual Recurring Cost: Materials [$] |  |  |  | 0
Primary and Emission Factor | Primary Energy Factor | CO2 Emission Coefficient [g/kWh] | Annual Recurring Cost: Maintenance [$] |  |  |  | 0
Electricity | 2.5 | 400 | Initial Extra Investment [$] |  |  |  | 0
Natural Gas | 1.1 | 200 | Discount Rate |  |  |  | 0.05
Fuel | 1.2 | 250 | Electricity Price [$] |  |  |  | 0.12